## Slide 1
DxU Iris Workcell Urinalysis Analyzer
Advanced Technology Casebook
Urinalysis Case Study Book
© 2026 Beckman Coulter. All rights reserved. | 2025-15024

## Slide 2: Disclaimer
Urinalysis Case Study Book
The DxU Iris analyzer data provided in this casebook is intended for educational purposes only and should not be used for diagnostic purposes. Further analysis is dependent on a review by a pathologist in conjunction with ancillary studies and testing for the final clinical diagnosis.
DxU Iris results included in this case study include:
Arkray Aution Max
AX-4030 Chemistry Results
DxU Iris 850m Microscopy Results
Flags
Messages
All operational and technological details for the urinalysis analyzers are described in the appropriate Instructions for Use documents, which can be located at www.beckmancoulter.com > Support > Technical Documents.

## Slide 3: Patient History
Female patient presented to the ED with abdominal pain, nausea and vomiting
She has diabetes and chronic kidney failure
She has breast cancer
Urinalysis Case Study | #1
Female, 70 years old

## Slide 4: Analysis with DxU Iris Technology
Urinalysis Case Study | #1

## Slide 5: Urine Chemistry Results
Urinalysis Case Study | #1
TEST | RESULT | NORMAL VALUE* | FLAG
Glucose | 150 mg/dl | Negative | H
Protein | 70 mg/dl | Negative | H
Bilirubin | NEG | Negative | 
Urobilinogen | Normal | Normal | 
PH | 6.5 | 5.0–8.0 | 
Blood | +2 | Negative | H
Ketone | NEG | Negative | 
Nitrite | NEG | Negative | 
Leukocytes | 500 | Negative | H
Specific Gravity | 1.019 | 1.005–1.030 | 
Clarity | TURBID | Clear | Abnormal
Color | COLORLESS | Yellow | 
*User-defined Normal Values

## Slide 6: Urine Microscopy Results
Urinalysis Case Study | #1
TEST | RESULT | NORMAL VALUE* | FLAGS
RBC | 20 HPF | Up to 5 | H
WBC | >182 HPF | Up to 5 | H
Bacteria | Moderate | None | H
Mucus | Rare | None | H
Squamous Epithelial Cells | 1 HPF | Up to 5 | 
Amorphous Crystals | <MOD HPF | None | H
SAMPLE | RESULT
Organism Group | Klebsiella spp.
Sample Type | Blood Culture
Additional Lab Results
Microbiology Results
*User-defined Normal Values

## Slide 7: Digital Flow Microscopy
The following particle images have been captured by DxUm microscopy series analyzer using digital flow imaging technology:
Urinalysis Case Study | #1
RBC
WBC
BACT
BACT: Bacteria

## Slide 8: Digital Flow Microscopy
The following particle images have been captured by DxUm microscopy series analyzer using digital flow imaging technology:
Urinalysis Case Study | #1
MUCS
SQEP
AMOR
MUCS: Mucus
SQEP: Squamous Epithelial Cells
AMOR: Amorphous Crystals

## Slide 9: Acute Kidney Injury with Septic Shock
Urinalysis Case Study | #1 DIAGNOSIS
Routine urinalysis plays a critical role in early determination. When its results are combined with other tests, the monitoring of urine output and the analysis of urine composition provide rapid indicators of renal dysfunction before serum creatinine rises, thereby enabling timely intervention for Acute Kidney Injury (AKI).

## Slide 10: Patient History
Patient had kidney transplantation and diagnosed as ESRD (End Stage Renal Disease)
Patient complaining of loss of appetite and fatigue for the past week
Patient has dyspnea, hypertension and anemia
Urinalysis Case Study | #2
Male, 60 years old

## Slide 11: Analysis with DxU Iris Technology
Urinalysis Case Study | #2

## Slide 12: Urine Chemistry Results
Urinalysis Case Study | #2
TEST | RESULT | NORMAL VALUE* | FLAG
Glucose | NEG | Negative | 
Protein | 50 mg/dl | Negative | H
Bilirubin | NEG | Negative | 
Urobilinogen | Normal | Normal | 
PH | 6.0 | 5.0–8.0 | 
Blood | +1 | Negative | H
Ketone | NEG | Negative | 
Nitrite | +1 | Negative | H
Leukocytes | 500 | Negative | H
Specific Gravity | >1.030 | 1.005–1.030 | H
Clarity | TURBID | Clear | Abnormal
Color | Yellow | Yellow | 
*User-defined Normal Values

## Slide 13: Urine Microscopy Results
Urinalysis Case Study | #2
TEST | RESULT | NORMAL VALUE* | FLAGS
RBC | 182 HPF | Up to 5 | H
WBC | 40 HPF | Up to 5 | H
Mucus | Rare | None | H
Squamous Epithelial Cells | 2 HPF | Up to 5 | 
Hyaline Cast | 5 HPF | None | H
SAMPLE | RESULT
Organism Group | Multiple Organisms (Possible Contamination)
Sample Type | Urine Culture
Additional Lab Results
Microbiology Results
*User-defined Normal Values

## Slide 14: Digital Flow Microscopy
The following particle images have been captured by DxUm microscopy series analyzer using digital flow imaging technology:
Urinalysis Case Study | #2
RBC
WBC
MUCS
MUCS: Mucus

## Slide 15: Digital Flow Microscopy
The following particle images have been captured by DxUm microscopy series analyzer using digital flow imaging technology:
Urinalysis Case Study | #2
SQEP
HYAL
SQEP: Squamous Epithelial Cells
HYAL: Hyaline Cast

## Slide 16: Urinary Tract Infection UTI Unspecified
Urinalysis Case Study | #2 DIAGNOSIS
Routine urinalysis enables physicians to make determinations. Combined with appropriate tests and clinical context, its results significantly aid diagnosis, leading to quicker, targeted treatment that reduces discomfort, prevents complications, and promotes responsible antibiotic use.

## Slide 17: Patient History
Patient complaining about abdominal distention and loss of appetite
Patient has Uremia and Urinary Tract Obstruction
Patient diagnosed with Chronic Renal Failure
Urinalysis Case Study | #3
Male, 80 years old

## Slide 18: Analysis with DxU Iris Technology
Urinalysis Case Study | #3

## Slide 19: Urine Chemistry Results
Urinalysis Case Study | #3
TEST | RESULT | NORMAL VALUE* | FLAG
Glucose | NEG | Negative | 
Protein | 70 mg/dl | Negative | H
Bilirubin | NEG | Negative | 
Urobilinogen | Normal | Normal | 
PH | 7.5 | 5.0–8.0 | 
Blood | +3 | Negative | H
Ketone | NEG | Negative | 
Nitrite | NEG | Negative | 
Leukocytes | 500 | Negative | H
Specific Gravity | 1.013 | 1.005–1.030 | 
Clarity | Extra Turbid | Clear | Abnormal
Color | Orange | Yellow | 
*User-defined Normal Values

## Slide 20: Urine Microscopy Results
Urinalysis Case Study | #3
SAMPLE | RESULT
Organism Group | Proteusmirabilis
Sample Type | Urine Culture
Additional Lab Results
Microbiology Results
*User-defined Normal Values
TEST | RESULT | NORMAL VALUE* | FLAGS
RBC | 26 HPF | Up to 5 | H
WBC | >182 HPF | Up to 5 | H
WBC Clump | Few | None | H
Bacteria | Many | None | H
Mucus | Moderate | None | H
Squamous Epithelial Cells | 1 HPF | Up to 5 | 

## Slide 21: Digital Flow Microscopy
The following particle images have been captured by DxUm microscopy series analyzer using digital flow imaging technology:
Urinalysis Case Study | #3
RBC
WBC
WBCC
WBCC: WBC Clump

## Slide 22: Digital Flow Microscopy
The following particle images have been captured by DxUm microscopy series analyzer using digital flow imaging technology:
Urinalysis Case Study | #3
BACT
SQEP
MUCS
BACT: Bacteria
SQEP: Squamous Epithelial Cells
MUCS: Mucus

## Slide 23: Urinary Tract Obstruction with Chronic Kidney Failure
Urinalysis Case Study | #3 DIAGNOSIS
Routine urinalysis enables physicians to make determinations. Confirmation of urinary tract obstruction with chronic kidney failure is typically achieved through imaging studies such as a renal ultrasound or CT scan to visualize structural blockage. However, urinalysis is essential in supporting this process by detecting abnormalities such as hematuria, proteinuria, and crystalluria, which indicate impaired renal function and possible obstruction, guiding the need for these confirmatory imaging studies.

## Slide 24: Patient History
Patient presented to ER with hematuria
The patient was admitted and discharged with a Foley catheter due to urinary retention, a catheter was exchanged, and the patient had difficulty urinating
Patient was having abdominal pain due to urinary retention
Urinalysis Case Study | #4
Male, 65 years old

## Slide 25: Analysis with DxU Iris Technology
Urinalysis Case Study | #4

## Slide 26: Urine Chemistry Results
Urinalysis Case Study | #4
TEST | RESULT | NORMAL VALUE* | FLAG
Glucose | >1000 mg/dl | Negative | 
Protein | 50 mg/dl | Negative | H
Bilirubin | NEG | Negative | 
Urobilinogen | Normal | Normal | 
PH | 6.5 | 5.0–8.0 | 
Blood | +3 | Negative | H
Ketone | NEG | Negative | 
Nitrite | +1 | Negative | 
Leukocytes | 500 | Negative | H
Specific Gravity | 1.016 | 1.005–1.030 | 
Clarity | Extra Turbid | Clear | Abnormal
Color | Orange | Yellow | 
*User-defined Normal Values

## Slide 27: Urine Microscopy Results
Urinalysis Case Study | #4
TEST | RESULT | NORMAL VALUE* | FLAGS
RBC | 1 HPF | Up to 5 | 
WBC | 174 HPF | Up to 5 | H
Bacteria | Moderate | None | H
Mucus | Moderate | None | H
Squamous Epithelial Cells | 90 HPF | Up to 5 | 
SAMPLE | RESULT
Organism Group | Escherichia coli (ESBL)
Sample Type | Urine Culture
Additional Lab Results
Microbiology Results
*User-defined Normal Values

## Slide 28: Urine Microscopy Results
Urinalysis Case Study | #4
SAMPLE | RESULT
Organism Group | Gram Negative Bacilli
Organism | E.Coli
Colony Count | >100,000 CFU/mL
Gram Stain | Gram-negative Bacilli Seen
Additional Lab Results
Microbiology Results

## Slide 29: Digital Flow Microscopy
The following particle images have been captured by DxUm microscopy series analyzer using digital flow imaging technology:
Urinalysis Case Study | #4
SQEP: Squamous Epithelial Cells
WBC
RBC
SQEP

## Slide 30: Digital Flow Microscopy
The following particle images have been captured by DxUm microscopy series analyzer using digital flow imaging technology:
Urinalysis Case Study | #4
BACT
BACT: Bacteria

## Slide 31: Urinary Tract Infection UTI E. Coli, ESβL
Urinalysis Case Study | #4 DIAGNOSIS
Routine urinalysis enables physicians to make determinations. Combined with appropriate tests and clinical context, its results significantly aid diagnosis, leading to quicker, targeted treatment that reduces discomfort, prevents complications, and promotes responsible antibiotic use.